Conservation Practice Effects

| Sediment Basin (Ac) 350 Definition: A basin constructed with an engineered outlet, formed by an embankment or excavation or a combination of the two. Major Resource Concerns Addressed: Water quality. Benchmark Condition: Riparian area and cropland on ephemeral stream below rangeland. Date: October, 2016 Developer/Location: Hal Gordon, OR |
| --- |
| Positive Effects | Negative Effects |
| Soil Controlled flow will reduce gulley erosion down slope of basin. Water Retarded water in basin will infiltrate adding to subsurface water, possible seepage and higher water table. Recovery and storage of tail-water eliminates runoff and ponding. Basin will retard flows reducing the runoff and controlling water releases. Basin retains sediment, decreasing runoff turbidity. Sediment in surface water is trapped as water velocity is reduced. Air Proper management to reduce odors are required if used as part of an agricultural waste management system. Plants None. Animals Fish and wildlife habitat and water is temporarily available during the irrigation season. Energy Reuse of tail-water runoff results in reduced energy use for pumping. Human Reduced sediment damages to farm equipment. Increase yields/reduced costs as land becomes more productive. Create sustainability of natural resources that support your business. Increase the property value (real estate) of your property. Conserve soil and water for periods of drought and future use. Prevent off-site negative impacts. Comply with environmental regulations. Save time, money and labor. Promote family health and safety. Make land more attractive and promote good stewardship. May be eligible for cost share. Increased profitability in the long run. | Land Construction may have adverse effects on cultural resources, including inundation. Change in land use, convert to water and sediment storage. Land taken out of production. Capital Purchase sediment removal and distribution equipment. Installation with heavy equipment. Operation and maintenance equipment. Annual operation and maintenance costs to clean-out debris, repair and replace equipment and materials. Forgone income. Labor Increase in labor to remove accumulated sediment. Management Increased management developing sediment management plan. Risk May increase compaction during field operations. Nutrients, organics, salts, pathogens and agricultural chemicals are concentrated that could contaminate surface and ground water. Warm water is discharged to streams or other water bodies. Fish and wildlife habitat is eliminated in the area used for the basin. |
| Net Effect: Improved water quantity at a moderate cost. |

Commonly Associated Practices: Access Control , Access Road , Critical Area Planting, Dam, Dam, Diversion, Dike, Diversion, Fence, Filter Strip, Grade Stabilization Structure, Grassed Waterway, Land Clearing, Lined Waterway or Outlet, Mulching, Pond, Pond Sealing or Lining-Bentonite Sealant, Pond Sealing or Lining-Compacted Clay Treatment, Pond Sealing or Lining-Flexible Membrane, Pond Sealing or Lining-Soil Dispersant, Structure for Water Control, Subsurface Drain, Surface Drainage, Field Ditch, Surface Drainage, Main or Lateral, Wetland Creation, Wetland Enhancement, Wetland Restoration.

Note: This worksheet contains general talking points for the conservation planner to discuss with the land user.  It is the first step towards an economic or financial analysis.  The second step would include identifying a specific site for analysis at the farm or field level, editing the template for local conditions, adding units and quantities of farm inputs and outputs.  The third step in the economic analysis is to place a dollar value on as many variables as possible, put all units in the same time frame, using amortization ($/Acres/Year) or net present value ($/Acre), so benefits and costs can be compared.  The fourth and final step would be to combine several conservation practices into a conservation system, which is how most conservation practices are applied at the field level. Data for the worksheet comes from the land user, conservation planner, technical specialist and local agricultural supply vendors and contractors.  See Economics Technical Note: TN 200-ECN-1, Basic Economic Analysis Using T-Charts (August 2013) for more information.